## Sheet1
SN | Description | Unit | Rate | MOS (Stock) | Stock Amount | Excess | Excess Amount | Part Number | Usage area/building | Quality status | MIR Refrence
26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
H | CABLE FEEDERS
H1 | CU/XLPE/PVC cable [(4x4)mm2 )]]
|  | m | 37.8 | 0 | 0 |  | 0
H2 | CU/XLPE/PVC cable [(4x4)mm2 + 4mm2)]] | [5 empty] | 0
|  | m | 45.36 | 0 | 0 |  | 0
H3 | CU/XLPE/PVC cable [(4x6)mm2 + 6mm2)]] | [5 empty] | 0
|  | m | 65.88 | 0 | 0 |  | 0
H4 | CU/XLPE/PVC cable [(4x10)mm2 + 10mm2)]] | [5 empty] | 0
|  | m | 103.68 | 45 | 4665.6 |  | 0 | NA | Main shed/Warehouse | Good | MIR-00156//00729
H5 | CU/XLPE/STA/PVC cable [(4x10)mm2 + 10mm2)]] | m | 114.48 | 487 | 55751.76 | 200 | 22896 | NA | Infra/Main shed | Good | MIR-0090/00156//00729
H6 | CU/XLPE/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 156.6 | 0 | 0 |  | 0
| Install, Connect and Test | m |  |  |  |  | 0
H7 | CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 169.56 | 0 | 0 |  | 0
| Install, Connect and Test | m |  |  |  |  | 0
H8 | CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 222.48 | 0 | 0 |  | 0
| Install, Connect and Test | m |  |  |  |  | 0
H10 | CU/XLPE/PVC cable [(4x35)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 291.6 | 0 | 0 |  | 0
| Install, Connect and Test | m |  |  |  |  | 0
H11 | CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 362.88 | 82 | 29756.16 |  | 0
| Install, Connect and Test | [5 empty] | 0
H12 | CU/XLPE/STA/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | m | 373.68 | 0 | 0 |  | 0
| Install, Connect and Test | m |  |  |  |  | 0
H13 | CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2)]] | m | 517.32 | 153 | 79149.96 | 153 | 79149.96 | NA | Main shed | Good | MIR-00079
H14 | CU/XLPE/STA/PVC cable [(3x70+35)mm2 + 35mm2)]] | m | 528.12 | 405 | 213888.6 | 405 | 213888.6 | NA | Infra/Main shed | Good | MIR-00079
H15 | CU/XLPE/PVC cable [(3x95+50)mm2 + 50mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply |  | 711.72 | 0 | 0 |  | 0
| Install, Connect and Test | 197.64 |  |  |  |  | 0
H16 | CU/STA/PVC cable [(3x95+50)mm2 + 50mm2)]] | m | 729 | 62 | 45198 | 62 | 45198 | NA | Infra/Main shed | Good | MIR-00079//00113//00119
H17 | CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2)]] |  | 916.92 | 27 | 24756.84 | 27 | 24756.84 | NA | Main shed/substations | Good | MIR-00111//00113//00119
H19 | CU/XLPE/PVC cable [(3x150+70)mm2 + 70mm2)]] | m | 1070.28 | 23 | 24616.44 | 23 | 24616.44 | NA | Main shed/substations | Good | MIR-00079
H20 | CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2)]] | m | 1379.16 | 1620 | 2234239.2 | 1620 | 2234239.2 | NA | Main shed/substations | Good | MIR-00063//00082//00075
H22 | CU/XLPE/PVC cable [(3x240+120)mm2 +120mm2)]. | m | 1786.32 | 107 | 191136.24 | 107 | 191136.24 | NA | Main shed/substations | Good | MIR-000120
H25 | AL/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]. and all necessary accessories and ancillary works . | [5 empty] | 0
|  | m | 169.56 | 71 | 12038.76 | 0 | 0
T | MV CABLE FEEDERS | [5 empty] | 0
T1 | AL/XLPE/STA/PVC 18/30 KV cable (3x240)mm2. | [5 empty] | 0
|  | m | 554.04 | 381 | 211089.24 | 381 | 211089.24 | NA | Infra | Good | MIR-00073
L | 26 36 00-TRANSFER SWITCHES | [5 empty] | 0
L-1 | Static transfer switch (40A, 1-ph) | Nr |  | 1 | 0 | 1 | 0 | NA | Admin | Good | MIR-0041
| 26 05 19-LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES | [5 empty] | 0
| 26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES | [5 empty] | 0
H | CABLE FEEDERS | [5 empty] | 0
H9 | CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. | m | 405.08 | 214 | 86687.12 | 214 | 86687.12 | NA | Infra/Main shed | Good | MIR-00079//00729
H18 | CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2)] | m | 1674.4 | 152 | 254508.8 | 152 | 254508.8 | NA | Infra/Main shed | Good | MIR-00119
H21 | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)]. | m | 2496.84 | 366 | 913843.44 | 366 | 913843.44 | NA | Infra/Main shed | Good | MIR-00063
| Special Cables DIV-26 New | [5 empty] | 0
I | starr, geeignet für aussen ( und innen) solid, for outdoor + indoor use able for wiring in ground UV resistance (NYY-J) U =600V /1kV wire color coded -10..+70grd | [5 empty] | 0
A1 | NYY‐J 3x1,5 RE 0,6/1kV | m | 27.92 | 101 | 2819.92 | 101 | 2819.92 | NYY‐J 3x1,5 RE 0,6/1kV | Miscellaneous | Good
A2 | NYY‐J 4x1,5 RE 0,6/1kV | m | 33.71 | 0 | 0 | 0 | 0
A3 | NYY‐J 4x2,5 RE 0,6/1kV | m | 49 | 46 | 2254 | 46 | 2254 | NYY‐J 4x2,5 RE 0,6/1kV | Miscellaneous | Good
A4 | NYY‐J 4x4 RE 0,6/1kV | m | 68.83 | 0 | 0 | 0 | 0 | NYY‐J 4x4 RE 0,6/1kV | Miscellaneous | Good
A5 | NYY‐J 4x6 RE 0,6/1kV | m | 97.74 | 32 | 3127.68 | 32 | 3127.68 | NYY‐J 4x6 RE 0,6/1kV | Miscellaneous | Good
A6 | NYY‐J 4x10 RE 0,6/1kV | m | 150.09 | 22 | 3301.98 | 22 | 3301.98 | NYY‐J 4x10 RE 0,6/1kV | Miscellaneous | Good
A7 | NYY‐J 4x16 RE 0,6/1kV | m | 241.27 | 0 | 0 | 0 | 0
A8 | NYY‐J 4x25 RM 0,6/1kV | m | 358.12 | 0 | 0 | 0 | 0
A9 | NYY‐J 4x70 SM 0,6/1kV | m | 906.11 | 108 | 97859.88 | 108 | 97859.88 | NYY‐J 4x70 SM 0,6/1kV | Miscellaneous | Good
A10 | NYY‐J 3x25 RM/16 RE 0,6/1kV | m | 342.87 | 0 | 0 | 0 | 0
A11 | NYY‐J 3x35 SM/16 RE 0,6/1kV | m | 416.66 | 197 | 82082.02 | 197 | 82082.02 | NYY‐J 3x35 SM/16 RE 0,6/1kV | Miscellaneous | Good
A12 | NYY‐J 3x50 SM/25 RM 0,6/1kV | m | 594.63 | 120 | 71355.6 | 120 | 71355.6 | NYY‐J 3x50 SM/25 RM 0,6/1kV | Miscellaneous | Good
A13 | NYY‐J 3x70 SM/35 SM 0,6/1kV | m | 777.38 | 148 | 115052.24 | 148 | 115052.24 | NYY‐J 3x70 SM/35 SM 0,6/1kV | Miscellaneous | Good
A14 | NYY‐J 3x120 SM/70 SM 0,6/1kV | m | 1360.42 | 130 | 176854.6 | 130 | 176854.6 | NYY‐J 3x120 SM/70 SM 0,6/1kV | Miscellaneous | Good
A15 | NYY‐J 3x150 SM/70 SM 0,6/1kV | [5 empty] | 0
|  | m | 1668.26 | 5 | 8341.3 | 5 | 8341.3 | NYY‐J 3x150 SM/70 SM 0,6/1kV | Miscellaneous | Good
A16 | NYY‐J 3x185 SM/95 SM 0,6/1kV | m | 2046.54 | 234 | 478890.36 | 234 | 478890.36 | NYY‐J 3x185 SM/95 SM 0,6/1kV | Miscellaneous | Good
A17 | NYCY 3x2,5 RE/2,5 0,6/1kV | [5 empty] | 0
|  | m | 65.24 | 0 | 0 | 0 | 0
B | Flexibel , für innen flexible, indoor use not UV resistance (H05VV5-F oder YSLY-J) wire numbered U = 300V / 500V alternativ: Helu JZ-750 U=450/700V -40..+80grd G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
B1 | ÖLFLEX CLASSIC 110 3G0,75 | m | 13.7235 | 0 | 0 | 0 | 0
B2 | ÖLFLEX CLASSIC 110 3G1 | m | 16.9602 | 1157 | 19622.9625 | 1157 | 19622.9625 | ÖLFLEX CLASSIC 110 3G1 | Miscellaneous | Good
B3 | ÖLFLEX CLASSIC 110 3G1,5 | m | 21.3814 | 0 | 0 | 0 | 0
B4 | ÖLFLEX CLASSIC 110 4G0,75 | m | 18.4615 | 0 | 0 | 0 | 0
B5 | ÖLFLEX CLASSIC 110 4G1,5 | m | 26.9596 | 349 | 9408.9043 | 349 | 9408.9043 | ÖLFLEX CLASSIC 110 4G1,5 | Miscellaneous | Good
B6 | ÖLFLEX CLASSIC 110 4G2,5 | m | 41.0772 | 57 | 2341.4018 | 57 | 2341.4018 | ÖLFLEX CLASSIC 110 4G2,5 | Miscellaneous | Good
B7 | ÖLFLEX CLASSIC 110 4G4 | m | 62.5856 | 566 | 35423.4375 | 566 | 35423.4375 | ÖLFLEX CLASSIC 110 4G4 | Miscellaneous | Good
B8 | ÖLFLEX CLASSIC 110 4G6 | [5 empty] | 0
| Supply | m | 88.3884 | 17 | 1502.6035 | 17 | 1502.6035 | ÖLFLEX CLASSIC 110 4G6 | Miscellaneous | Good
| Install, Connect and Test | m |  |  |  |  | 0
B9 | ÖLFLEX CLASSIC 110 4G10 | [5 empty] | 0
| Supply | m | 143.4127 | 113 | 16205.6349 | 113 | 16205.6349 | ÖLFLEX CLASSIC 110 4G10 | Miscellaneous | Good
| Install, Connect and Test | [5 empty] | 0
B10 | ÖLFLEX CLASSIC 110 4G16 | [5 empty] | 0
| Supply | m | 220.6808 | 100 | 22068.0801 | 100 | 22068.0801 | ÖLFLEX CLASSIC 110 4G16 | Miscellaneous | Good
B11 | ÖLFLEX CLASSIC 110 4G25 | [5 empty] | 0
| Supply | m | 350.494 | 0 | 0 | 0 | 0
B12 | ÖLFLEX CLASSIC 110 4G35 | [5 empty] | 0
| Supply | m | 484.508 | 0 | 0 | 0 | 0
B13 | ÖLFLEX CLASSIC 110 5G0,75 | [5 empty] | 0
|  | m | 19.1254 | 1627 | 31116.9758 | 1627 | 31116.9758 | ÖLFLEX CLASSIC 110 5G0,75 | Miscellaneous | Good
B14 | ÖLFLEX CLASSIC 110 5G1 | [5 empty] | 0
|  | m | 24.9377 | 319 | 7955.1243 | 319 | 7955.1243 | ÖLFLEX CLASSIC 110 5G1 | Miscellaneous | Good
B15 | ÖLFLEX CLASSIC 110 5G1,5 | [5 empty] | 0
|  | m | 33.1851 | 0 | 0 | 0 | 0
B16 | ÖLFLEX CLASSIC 110 5G2,5 | [5 empty] | 0
|  | m | 51.3604 | 37 | 1900.3331 | 37 | 1900.3331 | ÖLFLEX CLASSIC 110 5G2,5 | Miscellaneous | Good
B17 | ÖLFLEX CLASSIC 110 5G4 | [5 empty] | 0
|  | m | 74.5353 | 1 | 74.5353 | 1 | 74.5353 | ÖLFLEX CLASSIC 110 5G4 | Miscellaneous | Good
B18 | ÖLFLEX CLASSIC 110 7G1 | [5 empty] | 0
|  | m | 35.7745 | 5 | 178.8726 | 5 | 178.8726 | ÖLFLEX CLASSIC 110 7G1 | Miscellaneous | Good
B19 | ÖLFLEX CLASSIC 110 7G1,5 | [5 empty] | 0
|  | m | 45.5535 | 0 | 0 | 0 | 0
B20 | ÖLFLEX CLASSIC 110 7G2,5 | [5 empty] | 0
|  | m | 67.7836 | 84 | 5693.8236 | 84 | 5693.8236 | ÖLFLEX CLASSIC 110 7G2,5 | Miscellaneous | Good
B21 | ÖLFLEX CLASSIC 110 7G4 |  | 115.935 |  |  |  | 0
B22 | ÖLFLEX CLASSIC 110 12G0,75 | [5 empty] | 0
|  | m | 49.8233 | 0 | 0 | 0 | 0
B23 | ÖLFLEX CLASSIC 110 12G1 | [5 empty] | 0
|  | m | 57.674 | 35 | 2018.5909 | 35 | 2018.5909 | ÖLFLEX CLASSIC 110 12G1 | Miscellaneous | Good
B24 | ÖLFLEX CLASSIC 110 12G1,5 | [5 empty] | 0
|  | m | 74.6152 | 0 | 0 | 0 | 0
B25 | ÖLFLEX CLASSIC 110 12G2,5 | m | 115.6595 | 47 | 5435.9983 | 47 | 5435.9983 | ÖLFLEX CLASSIC 110 12G2,5 | Miscellaneous | Good
B26 | ÖLFLEX CLASSIC 110 18G1,5 | m | 110.7012 | 33 | 3653.1382 | 33 | 3653.1382 | ÖLFLEX CLASSIC 110 18G1,5 | Miscellaneous | Good
B27 | ÖLFLEX CLASSIC 110 25G1,5 | m | 141.2778 | 512 | 72334.2538 | 512 | 72334.2538 | ÖLFLEX CLASSIC 110 25G1,5 | Miscellaneous | Good
C | Flexibel , für innen flexible, indoor use not UV resistance Adern farbig U = 600V / 1kV G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
C1 | ÖLFLEX CLASSIC 100 450/750V 4G70 | m |  | 45 | 0 | 45 | 0 | ÖLFLEX CLASSIC 100 450/750V 4G70 | Miscellaneous | Good
D | Flexibel , für aussen ( und innen ) flexible, outdoor + indoor use UV resistance , no ground wiring wire numbered U = 600V / 1kV Lapp: -30..+70grd Helu: -40..+80grd G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
D1 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G0,75 | m | 18.0758 | 0 | 0 | 0 | 0
D2 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1 | m | 21.3126 | 26 | 554.1267 | 26 | 554.1267 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1 | Miscellaneous | Good
D3 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1,5 | m | 27.1717 | 23 | 624.9496 | 23 | 624.9496 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1,5 | Miscellaneous | Good
D4 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G2,5 | m | 41.5593 | 0 | 0 | 0 | 0
D5 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G0,75 | [5 empty] | 0
|  | m | 22.8965 | 63 | 1442.4791 | 63 | 1442.4791 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G0,75 | Miscellaneous | Good
D6 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G1,5 | m | 32.8821 | 240 | 7891.7092 | 240 | 7891.7092 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G1,5 | Miscellaneous | Good
D7 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G2,5 | m | 48.0327 | 550 | 26418.0017 | 550 | 26418.0017 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G2,5 | Miscellaneous | Good
D8 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G4 | m | 70.1802 | 109 | 7649.638 | 109 | 7649.638 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G4 | Miscellaneous | Good
D9 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G6 | m | 98.5807 | 26 | 2563.0974 | 26 | 2563.0974 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G6 | Miscellaneous | Good
D10 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G10 | m | 167.7225 | 50 | 8386.1269 | 50 | 8386.1269 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G10 | Miscellaneous | Good
D11 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G16 | m | 248.434 | 324 | 80492.6036 | 324 | 80492.6036 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G16 | Miscellaneous | Good
D12 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G0,75 | m | 25.6511 | 72 | 1846.8828 | 72 | 1846.8828 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G0,75 | Miscellaneous | Good
D13 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1 | m | 31.4497 | 90 | 2830.4731 | 90 | 2830.4731 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1 | Miscellaneous | Good
D14 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1,5 | m | 39.9065 | 439 | 17518.9513 | 439 | 17518.9513 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1,5 | Miscellaneous | Good
D15 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G2,5 | m | 60.291 | 240 | 14469.828 | 240 | 14469.828 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G2,5 | Miscellaneous | Good
D16 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G4 | [5 empty] | 0
|  | m | 87.2866 | 0 | 0 | 0 | 0
D17 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G10 | [5 empty] | 0
|  | m | 213.7253 | 0 | 0 | 0 | 0
D18 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G0,75 | m | 34.6726 | 120 | 4160.7178 | 120 | 4160.7178 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G0,75 | Miscellaneous | Good
D19 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1 | [5 empty] | 0
| Supply | m | 40.7329 | 41 | 1670.0486 | 41 | 1670.0486 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1 | Miscellaneous | Good
D20 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1,5 | [5 empty] | 0
|  | m | 51.2006 | 15 | 768.0088 | 15 | 768.0088 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1,5 | Miscellaneous | Good
D21 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G2,5 | [5 empty] | 0
|  | m | 77.9207 | 142 | 11064.7464 | 142 | 11064.7464 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G2,5 | Miscellaneous | Good
D22 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G1 | [5 empty] | 0
| Supply | m | 63.5965 | 0 | 0 | 0 | 0
D23 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G1,5 | [5 empty] | 0
|  | m | 87.0111 | 255 | 22187.8341 | 255 | 22187.8341 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G1,5 | Miscellaneous | Good
D24 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G2,5 | [5 empty] | 0
|  | m | 133.5648 | 309 | 41271.5239 | 309 | 41271.5239 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G2,5 | Miscellaneous | Good
D25 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 18G1,5 | [5 empty] | 0
|  | m | 123.648 | 660 | 81607.7066 | 660 | 81607.7066 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 18G1,5 | Miscellaneous | Good
D26 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1 | [5 empty] | 0
|  | m | 125.3559 | 150 | 18803.3891 | 150 | 18803.3891 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1 | Miscellaneous | Good
D27 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1,5 | [5 empty] | 0
|  | m | 167.089 | 105 | 17544.3415 | 105 | 17544.3415 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1,5 | Miscellaneous | Good
D28 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G2,5 | [5 empty] | 0
|  | m | 268.8735 | 113 | 30382.7066 | 113 | 30382.7066 | ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G2,5 | Miscellaneous | Good
E | einfach geschirmt, flexibel, für innen flexible, single shield, indoor use nicht UV-beständig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ölflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
E1 | ÖLFLEX CLASSIC 110 CY 3G1,5 | m | 41.5868 | 118 | 4907.2465 | 118 | 4907.2465 | ÖLFLEX CLASSIC 110 CY 3G1,5 | Miscellaneous | Good
E2 | ÖLFLEX CLASSIC 110 CY 4G2,5 | [5 empty] | 0
|  | m | 74.1744 | 0 | 0 | 0 | 0
E3 | ÖLFLEX CLASSIC 110 CY 4G4 | [5 empty] | 0
| Supply | m | 102.3545 | 24 | 2456.5092 | 24 | 2456.5092 | ÖLFLEX CLASSIC 110 CY 4G4 | Miscellaneous | Good
E4 | ÖLFLEX CLASSIC 110 CY 4G6 | [5 empty] | 0
|  | m | 135.3553 | 30 | 4060.6599 | 30 | 4060.6599 | ÖLFLEX CLASSIC 110 CY 4G6 | Miscellaneous | Good
E5 | ÖLFLEX CLASSIC 110 CY 4G10 | [5 empty] | 0
|  | m | 220.061 | 7 | 1540.427 | 7 | 1540.427 | ÖLFLEX CLASSIC 110 CY 4G10 | Miscellaneous | Good
E6 | ÖLFLEX CLASSIC 110 CY 4G16 | [5 empty] | 0
|  | m | 2609.5186 | 14 | 36533.26 | 14 | 36533.26 | ÖLFLEX CLASSIC 110 CY 4G16 | Miscellaneous | Good
E7 | ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G50 | [5 empty] | 0
|  | m | 903.2157 | 28 | 25290.0401 | 28 | 25290.0401 | ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G50 | Miscellaneous | Good
E8 | ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G70 | [5 empty] | 0
|  | m | 1247.5477 | 14 | 17465.6682 | 14 | 17465.6682 | ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G70 | Miscellaneous | Good
E9 | ÖLFLEX CLASSIC 110 CY 7G1,5 | [5 empty] | 0
|  | m | 91.9695 | 0 | 0 | 0 | 0 |  | Miscellaneous | Good
F | einfach geschirmt, flexibel, für innen flexible, single shield, indoor use nicht UV-beständig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ölflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
F1 | ÖLFLEX SERVO 2YSLCYK‐JB 3X70+3G10 BK | [5 empty] | 0
|  | m | 1064.3631 | 74 | 78762.8693 | 74 | 78762.8693 | ÖLFLEX SERVO 2YSLCYK‐JB 3X70+3G10 BK | Miscellaneous | Good
F2 | ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK | [5 empty] | 0
|  | m | 1441.2001 | 548 | 789777.629 | 548 | 789777.629 | ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK | Miscellaneous | Good
F3 | ÖLFLEX SERVO 2YSLCYK‐JB 3X150+3G25 BK | [5 empty] | 0
|  | m | 2196.8022 | 86 | 188924.991 | 86 | 188924.991 | ÖLFLEX SERVO 2YSLCYK‐JB 3X150+3G25 BK | Miscellaneous | Good
F4 | ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK |  |  | 0 | 0 | 0 | 0 | ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK | Miscellaneous | Good
|  | m | 1470.3994 | 50 | 73519.9704 | 50 | 73519.9704
G | einfach geschirmt, flexibel, für innen flexible, single shield, indoor use color coded no ground wire -30..+80grd | [5 empty] | 0
G1 | UNITRONIC LiYCY 2x0,5 | [5 empty] | 0 | UNITRONIC LiYCY 2x0,5 | Miscellaneous | Good
|  | m | 18.1447 | 162 | 2939.4433 | 162 | 2939.4433
G2 | UNITRONIC LiYCY 2x0,75 | [5 empty] | 0
|  | m | 19.1245 | 0 | 0 | 0 | 0
G3 | UNITRONIC LiYCY 3x0,5 | [5 empty] | 0
|  | m | 20.073 | 950 | 19069.3224 | 950 | 19069.3224 | UNITRONIC LiYCY 3x0,5 | Miscellaneous | Good
G4 | UNITRONIC LiYCY 4x0,5 | [5 empty] | 0
|  | m | 24.0672 | 62 | 1492.1678 | 62 | 1492.1678 | UNITRONIC LiYCY 4x0,5 | Miscellaneous | Good
G5 | UNITRONIC LiYCY 6x0,5 | [5 empty] | 0
|  | m | 34.8104 | 40 | 1392.4152 | 40 | 1392.4152 | UNITRONIC LiYCY 6x0,5 | Miscellaneous | Good
G6 | UNITRONIC LiYCY 7x0,5 | [5 empty] | 0
|  | m | 32.8821 | 17 | 558.9961 | 17 | 558.9961 | UNITRONIC LiYCY 7x0,5 | Miscellaneous | Good
G7 | UNITRONIC LiYCY 8x0,5 | [5 empty] | 0
|  | m | 37.7028 | 0 | 0 | 0 | 0
G8 | UNITRONIC LiYCY 12x0,5 | [5 empty] | 0
|  | m | 49.5478 | 0 | 0 | 0 | 0
G9 | UNITRONIC LiYCY 18x0,5 | [5 empty] | 0
|  | m | 67.1776 | 350 | 23512.1566 | 350 | 23512.1566
G10 | UNITRONIC LiYCY 25x0,5 | [5 empty] | 0
|  | m | 71.4473 | 44 | 3143.6815 | 44 | 3143.6815 | UNITRONIC LiYCY 25x0,5 | Miscellaneous | Good
H | einfach geschirmt, twisted pair single shield, twisted pair farbcodiert | [5 empty] | 0
H1 | UNITRONIC LiYCY (TP) 2x2x0,5 | [5 empty] | 0
|  | m | 28.6124 | 112 | 3204.5893 | 112 | 3204.5893 | UNITRONIC LiYCY (TP) 2x2x0,5 | Miscellaneous | Good
H2 | UNITRONIC LiYCY (TP) 3x2x0,5 | [5 empty] | 0
|  | m | 44.5894 | 30 | 1337.6823 | 30 | 1337.6823 | UNITRONIC LiYCY (TP) 3x2x0,5 | Miscellaneous | Good
H3 | UNITRONIC LiYCY (TP) 6x2x0,5 | [5 empty] | 0
|  | m | 64.4229 | 0 | 0 | 0 | 0
I | Flexibel für Energiekette mit UL/cUL flexible for energy chain UL/cUL nummerierte Adern PUR- Mantel Kleine Biegeradien UL/cUL approbiert für Nordamerika G = with protective conductor gn-ge x = without protective conductor | [5 empty] | 0
I1 | ÖLFLEX FD 855 P 3G1,5 | [5 empty] | 0
|  | m | 62.2468 | 30 | 1867.4027 | 30 | 1867.4027 | ÖLFLEX FD 855 P 3G1,5 | Miscellaneous | Good
I2 | ÖLFLEX FD 855 P 12G1,5 | [5 empty] | 0
|  | m | 183.0109 | 15 | 2745.1632 | 15 | 2745.1632 | ÖLFLEX FD 855 P 12G1,5 | Miscellaneous | Good
L | Erdung grounding | [5 empty] | 0
L1 | H07V‐K 1X16 GNYE | [5 empty] | 0
|  | m | 54.7816 | 904 | 49522.6006 | 904 | 49522.6006 | H07V‐K 1X16 GNYE | Miscellaneous | Good
L2 | H07V‐K 1X25 GNYE | [5 empty] | 0
|  | m | 89.2148 | 32 | 2854.8749 | 32 | 2854.8749 | H07V‐K 1X25 GNYE | Miscellaneous | Good
L3 | H07V‐K 1X50 GNYE | [5 empty] | 0
|  | m | 161.3868 | 451 | 72785.4598 | 451 | 72785.4598
L4 | H07V‐K 1X70 GNYE |  |  | 0 | 0 | 0 | 0 | H07V‐K 1X70 GNYE | Miscellaneous | Good
|  | m | 224.193 | 16 | 3587.0878 | 16 | 3587.0878
L5 | H07V‐K 1X95 GNYE | [5 empty] | 0
|  | m | 309.7251 | 50 | 15486.253 | 50 | 15486.253 | H07V‐K 1X95 GNYE | Miscellaneous | Good
M | Spezialleitung special cables | [5 empty] | 0
M1 | ÖLFLEX CLASSIC 100 YELLOW 3G1,5 | [5 empty] | 0
|  | m | 26.8458 | 0 | 0 | 0 | 0
M2 | ÖLFLEX CLASSIC 110 Orange 3G1,5 | m | 28.0854 | 73 | 2050.2351 | 73 | 2050.2351 | ÖLFLEX CLASSIC 110 Orange 3G1,5 | Miscellaneous | Good
N | CABLE TRAYS FOR Equipement Cables | [5 empty] | 0
| Supply, install, test and put into operation cable trays system, complete with all elbows, tees, reducers, suspension elements, supports, connectors, bonding jumpers, earthing connector, fasteners, covers, studs, fire stopping material, warning signs, bolts, nuts, washers, covers, accessories and all related ancillary works. | [5 empty] | 0
| (200x100)mm | [5 empty] | 0
| Supply | 450 | 375.8416 | 200 | 75168.324 | 200 | 75168.324
| Install, Connect and Test | 450 |  |  |  |  | 0
| (300x100)mm | [5 empty] | 0
| Supply | 750 | 485.302 | 0 | 0 | 0 | 0
| Install, Connect and Test | 750 |  |  |  |  | 0
| (400x100)mm | [5 empty] | 0
| Supply | 1500 | 592.0779 | 300 | 177623.361 | 300 | 177623.361
| Install, Connect and Test | 1500 |  |  |  |  | 0
| (500x100)mm | [5 empty] | 0
| Supply | 380 | 809.3563 | -7 | -5665.4942 | -7 | -5665.4942
| Install, Connect and Test | 380 |  |  |  |  | 0
| (600x100)mm | [5 empty] | 0
| Supply | 720 | 930.5833 | 102 | 94919.5017 | 102 | 94919.5017
| Install, Connect and Test | 720 |  |  |  |  | 0
| Hot-Dip Galvanized Perforated Separator, for cable tray 100mm height, 1.5mm thickness, 3000mm length | [5 empty] | 0
| Supply | 7602 | 78.7495 | 750 | 59062.1625 | 750 | 59062.1625
| Install, Connect and Test | 7602 |  |  |  |  | 0
| DIVISION 29 - Special Equipement | [5 empty] | 0
| To Summary | [5 empty] | 0
| VO.(74) LOW VOLTAGE CABLES IMPACT DUE TO ADDING NEW PANELS. | [5 empty] | 0
2.1.1 | CU/XLPE/PVC cable [(3x300+150mm2+150mm2)]. | Mt. | 9281.3364 | 52 | 482629.4928 | 52 | 482629.4928 | NA | INFRA | Good | MIR-00119
2.1.2 | CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2]. | Mt. | 4159.7241 | 181 | 752910.0569 | 181 | 752910.0569 | NA | INFRA | Good | MIR-00119
2.1.3 | CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 3192.1538 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.4 | CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 4780.3511 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.5 | CU/XLPE/STA/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 5943.2875 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.6 | CU/XLPE/PVC cable [(3x240+120)mm2 + 120mm2]. | Mt. | 6189.7684 | 95 | 588027.9942 | 95 | 588027.9942 | NA | Main shed | Good | MIR-00119
2.1.7 | CU/XLPE/STA/PVC cable [(3x240+120)mm2 + 120mm2]. | [5 empty] | 0 | NA | INFRA | Good | MIR-00073
|  | Mt. | 6276.8455 | 371 | 2328709.6879 | 371 | 2328709.6879
2.1.8 | CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 1256.8248 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.10 | CU/XLPE/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 520.4512 | 94 | 48922.4129 | 94 | 48922.4129
| Install | Mt. |  |  |  |  | 0
2.1.11 | CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 637.1352 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.12 | CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 763.3734 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.13 | CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 1198.7784 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.14 | CU/XLPE/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 1002.7133 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.15 | CU/XLPE/STA/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 989.4034 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.16 | CU/XLPE/STA/PVC cable [(4x6)mm2 + 6mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. | 235.9201 |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.18 | CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | [5 empty] | 0
| Supply | Mt. |  |  |  |  | 0
| Install | Mt. |  |  |  |  | 0
2.1.19 | CU/XLPE/STA/PVC cable [(3x95+50)mm2 + 50mm2]. | Mt. | 3173.2625 | 187 | 593400.0838 | 187 | 593400.0838 | NA | INFRA | Good | MIR-00113