## Sheet1
Description
26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
CABLE FEEDERS
CU/XLPE/PVC cable [(4x4)mm2 )]]
CU/XLPE/PVC cable [(4x4)mm2 + 4mm2)]]
CU/XLPE/PVC cable [(4x6)mm2 + 6mm2)]]
CU/XLPE/PVC cable [(4x10)mm2 + 10mm2)]]
CU/XLPE/STA/PVC cable [(4x10)mm2 + 10mm2)]]
CU/XLPE/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/PVC cable [(4x35)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/STA/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2)]]
CU/XLPE/STA/PVC cable [(3x70+35)mm2 + 35mm2)]]
CU/XLPE/PVC cable [(3x95+50)mm2 + 50mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install, Connect and Test
CU/STA/PVC cable [(3x95+50)mm2 + 50mm2)]]
CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2)]]
CU/XLPE/PVC cable [(3x150+70)mm2 + 70mm2)]]
CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2)]]
CU/XLPE/PVC cable [(3x240+120)mm2 +120mm2)].
AL/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]. and all necessary accessories and ancillary works .
MV CABLE FEEDERS
AL/XLPE/STA/PVC 18/30 KV cable (3x240)mm2.
26 36 00-TRANSFER SWITCHES
Static transfer switch (40A, 1-ph)
26 05 19-LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
CABLE FEEDERS
CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2].
CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2)]
CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
Special Cables DIV-26 New
starr, geeignet für aussen ( und innen) solid, for outdoor + indoor use able for wiring in ground UV resistance (NYY-J) U =600V /1kV wire color coded -10..+70grd
NYY‐J 3x1,5 RE 0,6/1kV
NYY‐J 4x1,5 RE 0,6/1kV
NYY‐J 4x2,5 RE 0,6/1kV
NYY‐J 4x4 RE 0,6/1kV
NYY‐J 4x6 RE 0,6/1kV
NYY‐J 4x10 RE 0,6/1kV
NYY‐J 4x16 RE 0,6/1kV
NYY‐J 4x25 RM 0,6/1kV
NYY‐J 4x70 SM 0,6/1kV
NYY‐J 3x25 RM/16 RE 0,6/1kV
NYY‐J 3x35 SM/16 RE 0,6/1kV
NYY‐J 3x50 SM/25 RM 0,6/1kV
NYY‐J 3x70 SM/35 SM 0,6/1kV
NYY‐J 3x120 SM/70 SM 0,6/1kV
NYY‐J 3x150 SM/70 SM 0,6/1kV
NYY‐J 3x185 SM/95 SM 0,6/1kV
NYCY 3x2,5 RE/2,5 0,6/1kV
Flexibel , für innen flexible, indoor use not UV resistance (H05VV5-F oder YSLY-J) wire numbered U = 300V / 500V alternativ: Helu JZ-750 U=450/700V -40..+80grd G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX CLASSIC 110 3G0,75
ÖLFLEX CLASSIC 110 3G1
ÖLFLEX CLASSIC 110 3G1,5
ÖLFLEX CLASSIC 110 4G0,75
ÖLFLEX CLASSIC 110 4G1,5
ÖLFLEX CLASSIC 110 4G2,5
ÖLFLEX CLASSIC 110 4G4
ÖLFLEX CLASSIC 110 4G6
Supply
Install, Connect and Test
ÖLFLEX CLASSIC 110 4G10
Supply
Install, Connect and Test
ÖLFLEX CLASSIC 110 4G16
Supply
ÖLFLEX CLASSIC 110 4G25
Supply
ÖLFLEX CLASSIC 110 4G35
Supply
ÖLFLEX CLASSIC 110 5G0,75
ÖLFLEX CLASSIC 110 5G1
ÖLFLEX CLASSIC 110 5G1,5
ÖLFLEX CLASSIC 110 5G2,5
ÖLFLEX CLASSIC 110 5G4
ÖLFLEX CLASSIC 110 7G1
ÖLFLEX CLASSIC 110 7G1,5
ÖLFLEX CLASSIC 110 7G2,5
ÖLFLEX CLASSIC 110 7G4
ÖLFLEX CLASSIC 110 12G0,75
ÖLFLEX CLASSIC 110 12G1
ÖLFLEX CLASSIC 110 12G1,5
ÖLFLEX CLASSIC 110 12G2,5
ÖLFLEX CLASSIC 110 18G1,5
ÖLFLEX CLASSIC 110 25G1,5
Flexibel , für innen flexible, indoor use not UV resistance Adern farbig U = 600V / 1kV G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX CLASSIC 100 450/750V 4G70
Flexibel , für aussen ( und innen ) flexible, outdoor + indoor use UV resistance , no ground wiring wire numbered U = 600V / 1kV Lapp: -30..+70grd Helu: -40..+80grd G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G0,75
ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1
ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 3G2,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G0,75
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G2,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G4
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G6
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G10
ÖLFLEX CLASSIC 110 Black 0,6/1kV 4G16
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G0,75
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G2,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G4
ÖLFLEX CLASSIC 110 Black 0,6/1kV 5G10
ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G0,75
ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1
Supply
ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 7G2,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G1
Supply
ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 12G2,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 18G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1
ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G1,5
ÖLFLEX CLASSIC 110 Black 0,6/1kV 25G2,5
einfach geschirmt, flexibel, für innen flexible, single shield, indoor use nicht UV-beständig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ölflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX CLASSIC 110 CY 3G1,5
ÖLFLEX CLASSIC 110 CY 4G2,5
ÖLFLEX CLASSIC 110 CY 4G4
Supply
ÖLFLEX CLASSIC 110 CY 4G6
ÖLFLEX CLASSIC 110 CY 4G10
ÖLFLEX CLASSIC 110 CY 4G16
ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G50
ÖLFLEX CLASSIC 110 CY BK 0,6/1kV 4G70
ÖLFLEX CLASSIC 110 CY 7G1,5
einfach geschirmt, flexibel, für innen flexible, single shield, indoor use nicht UV-beständig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ölflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX SERVO 2YSLCYK‐JB 3X70+3G10 BK
ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK
ÖLFLEX SERVO 2YSLCYK‐JB 3X150+3G25 BK
ÖLFLEX SERVO 2YSLCYK‐JB 3X95+3G16 BK
einfach geschirmt, flexibel, für innen flexible, single shield, indoor use color coded no ground wire -30..+80grd
UNITRONIC LiYCY 2x0,5
UNITRONIC LiYCY 2x0,75
UNITRONIC LiYCY 3x0,5
UNITRONIC LiYCY 4x0,5
UNITRONIC LiYCY 6x0,5
UNITRONIC LiYCY 7x0,5
UNITRONIC LiYCY 8x0,5
UNITRONIC LiYCY 12x0,5
UNITRONIC LiYCY 18x0,5
UNITRONIC LiYCY 25x0,5
einfach geschirmt, twisted pair single shield, twisted pair farbcodiert
UNITRONIC LiYCY (TP) 2x2x0,5
UNITRONIC LiYCY (TP) 3x2x0,5
UNITRONIC LiYCY (TP) 6x2x0,5
Flexibel für Energiekette mit UL/cUL flexible for energy chain UL/cUL nummerierte Adern PUR- Mantel Kleine Biegeradien UL/cUL approbiert für Nordamerika G = with protective conductor gn-ge x = without protective conductor
ÖLFLEX FD 855 P 3G1,5
ÖLFLEX FD 855 P 12G1,5
Erdung grounding
H07V‐K 1X16 GNYE
H07V‐K 1X25 GNYE
H07V‐K 1X50 GNYE
H07V‐K 1X70 GNYE
H07V‐K 1X95 GNYE
Spezialleitung special cables
ÖLFLEX CLASSIC 100 YELLOW 3G1,5
ÖLFLEX CLASSIC 110 Orange 3G1,5
CABLE TRAYS FOR Equipement Cables
Supply, install, test and put into operation cable trays system, complete with all elbows, tees, reducers, suspension elements, supports, connectors, bonding jumpers, earthing connector, fasteners, covers, studs, fire stopping material, warning signs, bolts, nuts, washers, covers, accessories and all related ancillary works.
(200x100)mm
Supply
Install, Connect and Test
(300x100)mm
Supply
Install, Connect and Test
(400x100)mm
Supply
Install, Connect and Test
(500x100)mm
Supply
Install, Connect and Test
(600x100)mm
Supply
Install, Connect and Test
Hot-Dip Galvanized Perforated Separator, for cable tray 100mm height, 1.5mm thickness, 3000mm length
Supply
Install, Connect and Test
DIVISION 29 - Special Equipement
To Summary
VO.(74) LOW VOLTAGE CABLES IMPACT DUE TO ADDING NEW PANELS.
CU/XLPE/PVC cable [(3x300+150mm2+150mm2)].
CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2].
CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(3x240+120)mm2 + 120mm2].
CU/XLPE/STA/PVC cable [(3x240+120)mm2 + 120mm2].
CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(4x6)mm2 + 6mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Supply
Install
CU/XLPE/STA/PVC cable [(3x95+50)mm2 + 50mm2].