## merged_data_new
Description | Best Match from List 2
26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES | 26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
CABLE FEEDERS | CABLE FEEDERS
CU/XLPE/PVC cable [(4x4)mm2 )]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(4x4)mm2 + 4mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(4x6)mm2 + 6mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(4x10)mm2 + 10mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(4x10)mm2 + 10mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/PVC cable [(4x35)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(4x35)mm2 + 16mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/STA/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(3x50+25)mm2 + 25mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(3x70+35)mm2 + 35mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x95+50)mm2 + 50mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x95+50)mm2 + 50mm2)]] and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install, Connect and Test | Install, Connect and Test
CU/STA/PVC cable [(3x95+50)mm2 + 50mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x150+70)mm2 + 70mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2)]] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x240+120)mm2 +120mm2)]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
AL/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]. and all necessary accessories and ancillary works . | AL/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2)]. and all necessary accessories and ancillary works .
MV CABLE FEEDERS | MV CABLE FEEDERS
AL/XLPE/STA/PVC 18/30 KV cable (3x240)mm2. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
26 36 00-TRANSFER SWITCHES | 26 36 00-TRANSFER SWITCHES
Static transfer switch (40A, 1-ph) | One gang,One Way 10A modular Switch (water proof)
26 05 19-LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES | 26 05 19-LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES | 26 05 19 - 26 05 36- 26 05 39 - 26 05 43 - LOW VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
CABLE FEEDERS | CABLE FEEDERS
CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2)] | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
Special Cables DIV-26 New | Special Cables DIV-26 New
starr, geeignet fÃ¼r aussen ( und innen) solid, for outdoor + indoor use able for wiring in ground UV resistance (NYY-J) U =600V /1kV wire color coded -10..+70grd | starr, geeignet fÃ¼r aussen ( und innen) solid, for outdoor + indoor use able for wiring in ground UV resistance (NYY-J) U =600V /1kV wire color coded -10..+70grd
NYYâ€J 3x1,5 RE 0,6/1kV | NYYâ€J 3x1,5 RE 0,6/1kV
NYYâ€J 4x1,5 RE 0,6/1kV | NYYâ€J 4x1,5 RE 0,6/1kV
NYYâ€J 4x2,5 RE 0,6/1kV | NYYâ€J 4x2,5 RE 0,6/1kV
NYYâ€J 4x4 RE 0,6/1kV | NYYâ€J 4x4 RE 0,6/1kV
NYYâ€J 4x6 RE 0,6/1kV | NYYâ€J 4x6 RE 0,6/1kV
NYYâ€J 4x10 RE 0,6/1kV | NYYâ€J 4x10 RE 0,6/1kV
NYYâ€J 4x16 RE 0,6/1kV | NYYâ€J 4x16 RE 0,6/1kV
NYYâ€J 4x25 RM 0,6/1kV | NYYâ€J 4x25 RM 0,6/1kV
NYYâ€J 4x70 SM 0,6/1kV | NYYâ€J 4x70 SM 0,6/1kV
NYYâ€J 3x25 RM/16 RE 0,6/1kV | NYYâ€J 3x25 RM/16 RE 0,6/1kV
NYYâ€J 3x35 SM/16 RE 0,6/1kV | NYYâ€J 3x35 SM/16 RE 0,6/1kV
NYYâ€J 3x50 SM/25 RM 0,6/1kV | NYYâ€J 3x50 SM/25 RM 0,6/1kV
NYYâ€J 3x70 SM/35 SM 0,6/1kV | NYYâ€J 3x70 SM/35 SM 0,6/1kV
NYYâ€J 3x120 SM/70 SM 0,6/1kV | NYYâ€J 3x120 SM/70 SM 0,6/1kV
NYYâ€J 3x150 SM/70 SM 0,6/1kV | NYYâ€J 3x150 SM/70 SM 0,6/1kV
NYYâ€J 3x185 SM/95 SM 0,6/1kV | NYYâ€J 3x185 SM/95 SM 0,6/1kV
NYCY 3x2,5 RE/2,5 0,6/1kV | NYCY 3x2,5 RE/2,5 0,6/1kV
Flexibel , fÃ¼r innen flexible, indoor use not UV resistance (H05VV5-F oder YSLY-J) wire numbered U = 300V / 500V alternativ: Helu JZ-750 U=450/700V -40..+80grd G = with protective conductor gn-ge x = without protective conductor | Flexibel , fÃ¼r innen flexible, indoor use not UV resistance (H05VV5-F oder YSLY-J) wire numbered U = 300V / 500V alternativ: Helu JZ-750 U=450/700V -40..+80grd G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX CLASSIC 110 3G0,75 | Ã–LFLEX CLASSIC 110 3G0,75
Ã–LFLEX CLASSIC 110 3G1 | Ã–LFLEX CLASSIC 110 3G1
Ã–LFLEX CLASSIC 110 3G1,5 | Ã–LFLEX CLASSIC 110 3G1,5
Ã–LFLEX CLASSIC 110 4G0,75 | Ã–LFLEX CLASSIC 110 4G0,75
Ã–LFLEX CLASSIC 110 4G1,5 | Ã–LFLEX CLASSIC 110 4G1,5
Ã–LFLEX CLASSIC 110 4G2,5 | Ã–LFLEX CLASSIC 110 4G2,5
Ã–LFLEX CLASSIC 110 4G4 | Ã–LFLEX CLASSIC 110 4G4
Ã–LFLEX CLASSIC 110 4G6 | Ã–LFLEX CLASSIC 110 4G6
Install, Connect and Test | Install, Connect and Test
Ã–LFLEX CLASSIC 110 4G10 | Ã–LFLEX CLASSIC 110 4G10
Install, Connect and Test | Install, Connect and Test
Ã–LFLEX CLASSIC 110 4G16 | Ã–LFLEX CLASSIC 110 4G16
Ã–LFLEX CLASSIC 110 4G25 | Ã–LFLEX CLASSIC 110 4G25
Ã–LFLEX CLASSIC 110 4G35 | Ã–LFLEX CLASSIC 110 4G35
Ã–LFLEX CLASSIC 110 5G0,75 | Ã–LFLEX CLASSIC 110 5G0,75
Ã–LFLEX CLASSIC 110 5G1 | Ã–LFLEX CLASSIC 110 5G1
Ã–LFLEX CLASSIC 110 5G1,5 | Ã–LFLEX CLASSIC 110 5G1,5
Ã–LFLEX CLASSIC 110 5G2,5 | Ã–LFLEX CLASSIC 110 5G2,5
Ã–LFLEX CLASSIC 110 5G4 | Ã–LFLEX CLASSIC 110 5G4
Ã–LFLEX CLASSIC 110 7G1 | Ã–LFLEX CLASSIC 110 7G1
Ã–LFLEX CLASSIC 110 7G1,5 | Ã–LFLEX CLASSIC 110 7G1,5
Ã–LFLEX CLASSIC 110 7G2,5 | Ã–LFLEX CLASSIC 110 7G2,5
Ã–LFLEX CLASSIC 110 7G4 | Ã–LFLEX CLASSIC 110 7G4
Ã–LFLEX CLASSIC 110 12G0,75 | Ã–LFLEX CLASSIC 110 12G0,75
Ã–LFLEX CLASSIC 110 12G1 | Ã–LFLEX CLASSIC 110 12G1
Ã–LFLEX CLASSIC 110 12G1,5 | Ã–LFLEX CLASSIC 110 12G1,5
Ã–LFLEX CLASSIC 110 12G2,5 | Ã–LFLEX CLASSIC 110 12G2,5
Ã–LFLEX CLASSIC 110 18G1,5 | Ã–LFLEX CLASSIC 110 18G1,5
Ã–LFLEX CLASSIC 110 25G1,5 | Ã–LFLEX CLASSIC 110 25G1,5
Flexibel , fÃ¼r innen flexible, indoor use not UV resistance Adern farbig U = 600V / 1kV G = with protective conductor gn-ge x = without protective conductor | Flexibel , fÃ¼r innen flexible, indoor use not UV resistance Adern farbig U = 600V / 1kV G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX CLASSIC 100 450/750V 4G70 | Ã–LFLEX CLASSIC 100 450/750V 4G70
Flexibel , fÃ¼r aussen ( und innen ) flexible, outdoor + indoor use UV resistance , no ground wiring wire numbered U = 600V / 1kV Lapp: -30..+70grd Helu: -40..+80grd G = with protective conductor gn-ge x = without protective conductor | Flexibel , fÃ¼r aussen ( und innen ) flexible, outdoor + indoor use UV resistance , no ground wiring wire numbered U = 600V / 1kV Lapp: -30..+70grd Helu: -40..+80grd G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G0,75 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G0,75
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G1 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G1
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 3G2,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G0,75 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G0,75
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G2,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G4 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G4
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G6 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G6
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G10 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G10
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G16 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 4G16
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G0,75 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G0,75
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G1 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G1
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G2,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G4 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G4
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G10 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 5G10
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G0,75 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G0,75
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G1 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G1
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 7G2,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G1 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G1
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 12G2,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 18G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 18G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G1 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G1
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G1,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G1,5
Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G2,5 | Ã–LFLEX CLASSIC 110 Black 0,6/1kV 25G2,5
einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use nicht UV-bestÃ¤ndig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ã–lflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor | einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use nicht UV-bestÃ¤ndig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ã–lflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX CLASSIC 110 CY 3G1,5 | Ã–LFLEX CLASSIC 110 CY 3G1,5
Ã–LFLEX CLASSIC 110 CY 4G2,5 | Ã–LFLEX CLASSIC 110 CY 4G2,5
Ã–LFLEX CLASSIC 110 CY 4G4 | Ã–LFLEX CLASSIC 110 CY 4G4
Ã–LFLEX CLASSIC 110 CY 4G6 | Ã–LFLEX CLASSIC 110 CY 4G6
Ã–LFLEX CLASSIC 110 CY 4G10 | Ã–LFLEX CLASSIC 110 CY 4G10
Ã–LFLEX CLASSIC 110 CY 4G16 | Ã–LFLEX CLASSIC 110 CY 4G16
Ã–LFLEX CLASSIC 110 CY BK 0,6/1kV 4G50 | Ã–LFLEX CLASSIC 110 CY BK 0,6/1kV 4G50
Ã–LFLEX CLASSIC 110 CY BK 0,6/1kV 4G70 | Ã–LFLEX CLASSIC 110 CY BK 0,6/1kV 4G70
Ã–LFLEX CLASSIC 110 CY 7G1,5 | Ã–LFLEX CLASSIC 110 CY 7G1,5
einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use nicht UV-bestÃ¤ndig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ã–lflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor | einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use nicht UV-bestÃ¤ndig, transparent Adern nummeriert U = 300V / 500V -40..+80grd YSLYCY-J (Ã–lflex FD Classic 810 CY) Helu:U = 300V / 500V Lapp: U= 300V/500 V ab 1,5mm2: 450/750V G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX SERVO 2YSLCYKâ€JB 3X70+3G10 BK | Ã–LFLEX SERVO 2YSLCYKâ€JB 3X70+3G10 BK
Ã–LFLEX SERVO 2YSLCYKâ€JB 3X95+3G16 BK | Ã–LFLEX SERVO 2YSLCYKâ€JB 3X95+3G16 BK
Ã–LFLEX SERVO 2YSLCYKâ€JB 3X150+3G25 BK | Ã–LFLEX SERVO 2YSLCYKâ€JB 3X150+3G25 BK
Ã–LFLEX SERVO 2YSLCYKâ€JB 3X95+3G16 BK | Ã–LFLEX SERVO 2YSLCYKâ€JB 3X95+3G16 BK
einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use color coded no ground wire -30..+80grd | einfach geschirmt, flexibel, fÃ¼r innen flexible, single shield, indoor use color coded no ground wire -30..+80grd
UNITRONIC LiYCY 2x0,5 | UNITRONIC LiYCY 2x0,5
UNITRONIC LiYCY 2x0,75 | UNITRONIC LiYCY 2x0,75
UNITRONIC LiYCY 3x0,5 | UNITRONIC LiYCY 3x0,5
UNITRONIC LiYCY 4x0,5 | UNITRONIC LiYCY 4x0,5
UNITRONIC LiYCY 6x0,5 | UNITRONIC LiYCY 6x0,5
UNITRONIC LiYCY 7x0,5 | UNITRONIC LiYCY 7x0,5
UNITRONIC LiYCY 8x0,5 | UNITRONIC LiYCY 8x0,5
UNITRONIC LiYCY 12x0,5 | UNITRONIC LiYCY 12x0,5
UNITRONIC LiYCY 18x0,5 | UNITRONIC LiYCY 18x0,5
UNITRONIC LiYCY 25x0,5 | UNITRONIC LiYCY 25x0,5
einfach geschirmt, twisted pair single shield, twisted pair farbcodiert | einfach geschirmt, twisted pair single shield, twisted pair farbcodiert
UNITRONIC LiYCY (TP) 2x2x0,5 | UNITRONIC LiYCY (TP) 2x2x0,5
UNITRONIC LiYCY (TP) 3x2x0,5 | UNITRONIC LiYCY (TP) 3x2x0,5
UNITRONIC LiYCY (TP) 6x2x0,5 | UNITRONIC LiYCY (TP) 6x2x0,5
Flexibel fÃ¼r Energiekette mit UL/cUL flexible for energy chain UL/cUL nummerierte Adern PUR- Mantel Kleine Biegeradien UL/cUL approbiert fÃ¼r Nordamerika G = with protective conductor gn-ge x = without protective conductor | Flexibel fÃ¼r Energiekette mit UL/cUL flexible for energy chain UL/cUL nummerierte Adern PUR- Mantel Kleine Biegeradien UL/cUL approbiert fÃ¼r Nordamerika G = with protective conductor gn-ge x = without protective conductor
Ã–LFLEX FD 855 P 3G1,5 | Ã–LFLEX FD 855 P 3G1,5
Ã–LFLEX FD 855 P 12G1,5 | Ã–LFLEX FD 855 P 12G1,5
Erdung grounding | Erdung grounding
H07Vâ€K 1X16 GNYE | H07Vâ€K 1X16 GNYE
H07Vâ€K 1X25 GNYE | H07Vâ€K 1X25 GNYE
H07Vâ€K 1X50 GNYE | H07Vâ€K 1X50 GNYE
H07Vâ€K 1X70 GNYE | H07Vâ€K 1X70 GNYE
H07Vâ€K 1X95 GNYE | H07Vâ€K 1X95 GNYE
Spezialleitung special cables | Spezialleitung special cables
Ã–LFLEX CLASSIC 100 YELLOW 3G1,5 | Ã–LFLEX CLASSIC 100 YELLOW 3G1,5
Ã–LFLEX CLASSIC 110 Orange 3G1,5 | Ã–LFLEX CLASSIC 110 Orange 3G1,5
CABLE TRAYS FOR Equipement Cables | CABLE TRAYS FOR Equipement Cables
Supply, install, test and put into operation cable trays system, complete with all elbows, tees, reducers, suspension elements, supports, connectors, bonding jumpers, earthing connector, fasteners, covers, studs, fire stopping material, warning signs, bolts, nuts, washers, covers, accessories and all related ancillary works. | Supply, install, test and put into operation cable trays system, complete with all elbows, tees, reducers, suspension elements, supports, connectors, bonding jumpers, earthing connector, fasteners, covers, studs, fire stopping material, warning signs, bolts, nuts, washers, covers, accessories and all related ancillary works.
(200x100)mm | (200x100)mm
Install, Connect and Test | Install, Connect and Test
(300x100)mm | (300x100)mm
Install, Connect and Test | Install, Connect and Test
(400x100)mm | (400x100)mm
Install, Connect and Test | Install, Connect and Test
(500x100)mm | (500x100)mm
Install, Connect and Test | Install, Connect and Test
(600x100)mm | (600x100)mm
Install, Connect and Test | Install, Connect and Test
Hot-Dip Galvanized Perforated Separator, for cable tray 100mm height, 1.5mm thickness, 3000mm length | Hot-Dip Galvanized Perforated Separator, for cable tray 100mm height, 1.5mm thickness, 3000mm length
Install, Connect and Test | Install, Connect and Test
DIVISION 29 - Special Equipement | DIVISION 29 - Special Equipement
VO.(74) LOW VOLTAGE CABLES IMPACT DUE TO ADDING NEW PANELS. | VO.(74) LOW VOLTAGE CABLES IMPACT DUE TO ADDING NEW PANELS.
CU/XLPE/PVC cable [(3x300+150mm2+150mm2)]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(3x120+70)mm2 + 70mm2]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x120+70)mm2 + 70mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 + 95mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(3x240+120)mm2 + 120mm2]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/STA/PVC cable [(3x240+120)mm2 + 120mm2]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].
CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x50+25)mm2 + 25mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(4x16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(4x25)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(3x35+16)mm2 + 16mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(4x6)mm2 + 6mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/STA/PVC cable [(4x6)mm2 + 6mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings. | CU/XLPE/PVC cable [(3x70+35)mm2 + 35mm2]. and all necessary accessories and ancillary works required as specified and as shown on drawings.
Install | Install
CU/XLPE/STA/PVC cable [(3x95+50)mm2 + 50mm2]. | CU/XLPE/STA/PVC cable [(3x185+95)mm2 +95mm2)].